## PTC-1 (Blank Template)
APPENDIX A
POST TENDER CLARIFICATION SCHEDULE - [TENDERER NAME]
|  |  | INITIAL TENDER REVIEW | PTC-1 |  |  | BAFO
Ref | COMMERCIAL COMPLIANCE |  | CONSULTANT COMMENTS / RECOMMENDATIONS | EMPLOYER'S CLARIFICATIONS | PTC-1 REVIEW MEETING DATED ___________ | TENDERER RESPONSE | EMPLOYER'S CLARIFICATIONS | TENDERER RESPONSE
A | FORM OF TENDER
1 | Form of Tender | •
2 | Time for Completion (____ days) | •
3 | Overhead & Profit (4%) | •
4 | Validity (90 days) | •
B | TERMS AND CONDITIONS
1 | Terms & Conditions | •
2 | Payment Terms | •
C | SIGNATURE AUTHORITY
1 | Power of Attorney
D | BILLS OF QUANTITIES
1 | Received in hard copy manuscript | • | No — this submission was received as a file, not in hard copy manuscript.
| Excel |  | Yes — received as 3. EMR ZFD AZR MW 0177 BOQ (OCT 2024) — GR1, 2 - Main, 3 - Ext, Bill 4.xlsx
| PDF |  | No
2 | Arithmetical Errors | • | Every line multiplies out and every block adds up to the total its own page prints. · Total as the bill prints it: 4,680,000.00 · Total the bidder's own quantity × rate produces: 4,680,000.00
3 | Deviations from Tender Bill |  | 1 section do not total what the summary declares. · PROVISIONAL SUMS — declared 4,680,000.00, lines total 0.00: 4,680,000.00
a | General Requirements | • | 2 blocks of scope sit outside the measured lines, worth 4,680,000.00. · BILL NO. 1 -GENERAL REQUIREMENTS: 0.00 · BILL NO. 4 -PROVISIONAL SUMS: 4,680,000.00
b | Excluded, unpriced items | • | Every line in this submission carries a rate, and every cross-reference lands on money. · Listed below; full detail on “PTC lines”, rows 2–5 (4 lines).
| 2/B/1 Item F — Bill 2 — SECTION B - SITE WORKS (2/B) — SITE PREPARATION — Dewatering; including design, maintenance, consumables, accessories and all ancillary works as necessary; complete — Confirm daily rate for maintenance of the dewatering system including all necessary fuel, spares, maintenance and attendance (RATE ONLY) |  | Candidate · Amount prints “Rate Only” · 2 - Main!A25
| 2/B/2 Item C — Bill 2 — SECTION B - SITE WORKS (2/B) — EARTHWORKS — Disposal — Disposal of unsuitable and surplus materials arising from excavation; including all ancillary works as necessary — Removed off-site to approved location (RATE ONLY) |  | Candidate · Amount prints “Rate Only” · 2 - Main!A68
| 2/D/2 Item B — Bill 2 — SECTION D - MASONRY (2/D) — SUNDRIES — Joints in masonry; including fire resistant compressible joint filler, sealant, angle head restraints, telescopic, sleeved and/or debonded ties and the like — Dowelled control joints (RATE ONLY) |  | Candidate · Amount prints “Rate Only” · 2 - Main!A949
| 2/D/2 Item D — Bill 2 — SECTION D - MASONRY (2/D) — SUNDRIES — Joints in masonry; including fire resistant compressible joint filler, sealant, angle head restraints, telescopic, sleeved and/or debonded ties and the like — Isolation joints (RATE ONLY) |  | Candidate · Amount prints “Rate Only” · 2 - Main!A953
4 | Key High / Low Analysis | • | Not yet assessed — a rate can only be called high or low against a benchmark, and none is set for this submission.
5 | BOQ line items should be priced individually. | • | 0 of 7,274 lines carry a unit rate, worth 0.00 — 0.0% of the printed total. · Lines priced at a unit rate: 0 · Lines priced as a whole: 4 · Listed below; full detail on “PTC lines”, rows 6–9 (4 lines).
| Bill 4/1-A — PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — Workforce Productivity System — Workforce productivity monitoring system (AED1,000,000) |  | Candidate · Amount prints “1000000” · Bill 4!A12
| Bill 4/1-B — PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — Workforce Productivity System — Main Contractor's OH&P of 4% |  | Candidate · Amount prints “40000” · Bill 4!A14
| Bill 4/1-C — PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — RTA ROW Access — Design and build of the RTA ROW accesses in the adjacent DM-owned plot as per SOPR, Clause 1.6 b |  | Candidate · Amount prints “3500000” · Bill 4!A18
| Bill 4/1-D — PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — RTA ROW Access — Main Contractor's OH&P of 4% |  | Candidate · Amount prints “140000” · Bill 4!A20
6 | Any Other Observations | • | Nothing else about this submission is outstanding.
E | TENDER DOCUMENTS
1 | Instructions to Tenders | •
2 | the Conditions of Contract | •
3 | the Schedule of Project Requirements | •
4 | the Drawings | •
5 | the Specification | •
F | TENDER BOND
1 | Tender Bond Provided | •
G | TENDER ADDENDA / ADDITIONAL DOCUMENTATION
1 | Tender Addenda returned & stamped | •
2 | Additional Documentation (ITT Clause 8.1 (g))
| A1: Preliminary Programme | •
| A2: Organization Charts | •
| A3: Key Personnel | •
| A4: Relevant Experience | •
| A5: QA/QC Procedures | •
| A6: Insurance Company | •
| A7: Method Statement | •
| A8: Proposed Subcontractors | •
| A9: Health and Safety | •
| A10: Trade License | •
| A11: Confirmation of Site Visit | •
| A12: Joint Venture Details | •
| A13: Current Commitment | •
| A14: Proposal for Innovative Approaches for this Project | •
| A15: Tenderer’s Sustainability Initiatives/Practices | •
| A16: Value Engineering Suggestions | •
| A17: Tenderer’s Bank Details | •
H | VALUE ENGINEERING / SCHEDULE OF ALTERNATIVES
1 | Value Engineering Suggestions
J | FORM OF MAINTENANCE AGREEMENT
K | TENDERER'S QUALIFICATIONS / CLARIFICATIONS
L | ADDITIONAL ITEMS
1 | Approved banks for Performance and Advance Guarantees/Bonds
2 | Framework rates - Standardization
3 | European Kitchen Cabinet
4 | ID Finishes
M | REVISED OFFER (PTC-XX / BAFO / LAFO etc.)
1 | Revised Offer |  | Tenderer to submit their Revised Offer in accordance with the issued tender documents, Addenda and PTC-1 clarifications.

## PTC lines
Status | Category | Heading | Query | QS note | Scope | Raised | Reference | Item | Description | Qty | Unit | Rate | Amount as printed | Amount (numeric) | Source cell | Bidder's response
Candidate — not yet raised | Excluded / unpriced | Excluded, unpriced items | Tenderer should price the below items marked as "excluded, Not Applicable, by others, unpriced etc". Or provide justifications for not pricing. |  |  |  | 2/B/1 Item F | F | Bill 2 — SECTION B - SITE WORKS (2/B) — SITE PREPARATION — Dewatering; including design, maintenance, consumables, accessories and all ancillary works as necessary; complete — Confirm daily rate for maintenance of the dewatering system including all necessary fuel, spares, maintenance and attendance (RATE ONLY) |  | DAY |  | Rate Only | 0 | 2 - Main!A25
Candidate — not yet raised | Excluded / unpriced | Excluded, unpriced items | Tenderer should price the below items marked as "excluded, Not Applicable, by others, unpriced etc". Or provide justifications for not pricing. |  |  |  | 2/B/2 Item C | C | Bill 2 — SECTION B - SITE WORKS (2/B) — EARTHWORKS — Disposal — Disposal of unsuitable and surplus materials arising from excavation; including all ancillary works as necessary — Removed off-site to approved location (RATE ONLY) |  | m3 |  | Rate Only | 0 | 2 - Main!A68
Candidate — not yet raised | Excluded / unpriced | Excluded, unpriced items | Tenderer should price the below items marked as "excluded, Not Applicable, by others, unpriced etc". Or provide justifications for not pricing. |  |  |  | 2/D/2 Item B | B | Bill 2 — SECTION D - MASONRY (2/D) — SUNDRIES — Joints in masonry; including fire resistant compressible joint filler, sealant, angle head restraints, telescopic, sleeved and/or debonded ties and the like — Dowelled control joints (RATE ONLY) |  | m |  | Rate Only | 0 | 2 - Main!A949
Candidate — not yet raised | Excluded / unpriced | Excluded, unpriced items | Tenderer should price the below items marked as "excluded, Not Applicable, by others, unpriced etc". Or provide justifications for not pricing. |  |  |  | 2/D/2 Item D | D | Bill 2 — SECTION D - MASONRY (2/D) — SUNDRIES — Joints in masonry; including fire resistant compressible joint filler, sealant, angle head restraints, telescopic, sleeved and/or debonded ties and the like — Isolation joints (RATE ONLY) |  | m |  | Rate Only | 0 | 2 - Main!A953
Candidate — not yet raised | Not priced individually | Items not priced individually | BOQ line items should be priced individually. The below items carry a composite or lump-sum price; please provide the individual rate and amount against each line. |  |  |  | Bill 4/1-A | A | PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — Workforce Productivity System — Workforce productivity monitoring system (AED1,000,000) |  | Item |  | 1000000 | 1000000 | Bill 4!A12
Candidate — not yet raised | Not priced individually | Items not priced individually | BOQ line items should be priced individually. The below items carry a composite or lump-sum price; please provide the individual rate and amount against each line. |  |  |  | Bill 4/1-B | B | PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — Workforce Productivity System — Main Contractor's OH&P of 4% |  | Item |  | 40000 | 40000 | Bill 4!A14
Candidate — not yet raised | Not priced individually | Items not priced individually | BOQ line items should be priced individually. The below items carry a composite or lump-sum price; please provide the individual rate and amount against each line. |  |  |  | Bill 4/1-C | C | PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — RTA ROW Access — Design and build of the RTA ROW accesses in the adjacent DM-owned plot as per SOPR, Clause 1.6 b |  | Item |  | 3500000 | 3500000 | Bill 4!A18
Candidate — not yet raised | Not priced individually | Items not priced individually | BOQ line items should be priced individually. The below items carry a composite or lump-sum price; please provide the individual rate and amount against each line. |  |  |  | Bill 4/1-D | D | PROVISIONAL SUMS — Items of Works to be Tendered — The Employer shall ascertain and determine by measurement the value of work done and/or Plant provided to which the following Provisional Sums relate in accordance with the Conditions of Contract — RTA ROW Access — Main Contractor's OH&P of 4% |  | Item |  | 140000 | 140000 | Bill 4!A20